## Slide 1
SWGDRUG 2018 Update
Sandra E. Rodriguez-Cruz, Ph.D., ABC-F
SWGDRUG Secretariat
AAFS - February 24, 2018

## Slide 2: History
1997 DEA & ONDCP co-sponsored TWGDRUG
1999 First meeting in Washington, DC
1999 SWGDRUG name adopted
2001 1st Edition of Recommendations
2016 Version 7.1 of Recommendations
2017 20th Anniversary
    Annual Meeting (June; St. Louis, MO)

## Slide 3: Mission
To improve the quality of the forensic examination of seized drugs and to respond to the needs of the forensic community by supporting the development of internationally accepted minimum standards, identifying best practices within the international community, and providing resources to help laboratories meet these standards.

## Slide 4: Current Documents
SWGDRUG Recommendations v. 7.1
Supplemental Documents:
  SD-1: A Code of Professional Practice for Drug Analysts
  SD-2: Validation of Analytical Methods
  SD-3: Examples of Measurement Uncertainty for Weight Determinations
  SD-4: Examples of Measurement Uncertainty for Purity Determinations
  SD-5: Reporting Examples
  SD-6: Examples of Measurement Uncertainty for Extrapolations of Net Weight and Unit Count

## Slide 5: Current Resources
MS Library
  Version 3.2 (Sept. 19, 2017)
  All spectra collected using EI-MS systems (> 2600)
  Several formats (Agilent Tech., Shimadzu, etc.)
  Validated by NIST
IR Library
  Version 1.6 (Dec. 3, 2017)
  All spectra collected using FTIR-ATR system (> 340)
  DEA Special Testing and Research Lab
  Several formats (Omnic, PE, etc.)
Drug Monographs
  Over 390 (40 new monographs added in 2017)
  DEA Special Testing and Research Lab

## Slide 6: 2017 Summary
In-person meeting – June 2017
SWGDRUG Bulletin
SWGDRUG Recommendations Part IIIB
  Methods of Analysis / Drug Identification
  Revisions
  Supplemental document (analytical scheme examples)
SWGDRUG Recommendations Part IVB
  Quality Assurance / Validation of Analytical Methods
  Revisions
  Supplemental document (method validation examples)

## Slide 7: SWGDRUG Part IIIB - Identification
Minimum standards for identification
Two different tests:
  Cat. A and Cat. A, B or C
Three different tests: (2 must be Cat. B)
  3 Cat. B
  2 Cat. B and Cat. C
Minimum standard may not be sufficient for identification of all substances in all jurisdictions
* SWGDRUG Recommendations v. 7.1, PART IIIB.4

## Slide 8: SWGDRUG Part IIIB - Identification
Categorization of Tests:
  Cat. A - Structural information (e.g. IR, MS)
  Cat. B - High selectivity (e.g. GC, LC)
  Cat. C - Corroboration tests (e.g. color tests)
Highlights:
  Emphasis on the result, not the technique.
  It is not the act of using a technique; it is the properties of the result obtained
  Are you answering the question at issue?

## Slide 9: Analytical Scheme Examples:
Supplemental document:
  Combination of techniques/methods to overcome individual limitations
  Use of orthogonal techniques:
    Reduce the likelihood of false positives
  Test 2 or more portions:
    Corroboration of results
    Reduce possibility of contamination
    Address sample heterogeneity

## Slide 10: Analytical Scheme Examples:
Technique | Result | Conclusion | Category
GC | Retention time (tR) of analyte peak is consistent with heroin RM | Heroin | B
MS (EI) | Mass spectrum of analyte is consistent with heroin RM | Heroin | A
Example 1: Scheme to identify heroin
Outcome:
Heroin identified based on results from 2 techniques

## Slide 11: Analytical Scheme Examples:
Technique | Result | Conclusion | Category
GC | tR of analyte peak is consistent with (pseudo)ephedrine RM | Ephedrine, pseudoephedrine, or a mixture of both | B
MS (EI) | Mass spectrum of analyte is consistent with (pseudo)ephedrine RM | Ephedrine, pseudoephedrine, or a mixture of both | A
Example 2: Scheme to identify pseudoephedrine/ ephedrine
Outcome:
Ephedrine/pseudoephedrine identified based on results from 2 techniques

## Slide 12: Analytical Scheme Examples:
Technique | Result | Conclusion | Category
ATR-FTIR | Clean, full spectrum consistent with methamphetamine HCl RM | Methamphetamine HCl | A
Color Test | Positive color change consistent with methamphetamine HCl RM | Methamphetamine HCl | C
Example 3: Scheme to identify methamphetamine HCl
Outcome:
Methamphetamine HCl identified based on results from 2 techniques

## Slide 13: Analytical Scheme Examples:
Technique | Result | Conclusion | Category
ESI-MS-TOF | Molecular mass and elemental formula consistent with methcathinone | Mass: 163.2256 C10H13NO | A
GC-FID | tR of analyte peak is consistent with methcathinone RM | Methcathinone | B
GC-EI-MS | Mass spectrum of analyte with methcathinone RM | Methcathinone | A
Example 4: Scheme to identify methcathinone
Outcome:
Methcathinone identified based on results from 2 techniques

## Slide 14: SWGDRUG Part IVB – Method Validation
Qualitative Method Validation
  Limited information available
Part IVB – Validation of Analytical Methods
  Components of validation:
    Scope/purpose
    Validation plan
    Assessment of data
    Limitations
    Conclusions

## Slide 15: Method Validation Examples:
Part IVB – Validation of Analytical Methods
  Validation criteria & definitions:
    Selectivity, reliability (repeatability/reproducibility), and accuracy
    Qualitative uncertainty (sensitivity, specificity, false positives, false negatives)
  Validation documentation (incl. retrospective validation)
  Examples (supplemental document):
    General purpose GC-MS method
    IR method
    Color test

## Slide 16: SWGDRUG Future Directions
SWGDRUG meetings:
  Core committee (national & international)
  DEA – financial support
Provide resources:
  Recommendations and supplemental documents
  Libraries and monographs
Dissemination
  www.swgdrug.org
Support the development of internationally accepted minimum standards for the analysis of seized drugs (OSAC)

## Slide 17: SWGDRUG-Developed Documents
  E2329: Identification of Seized Drugs
  E2548: Sampling Seized Drugs for Qualitative and Quantitative Analysis
  E2764: Uncertainty Assessment in the Context of Seized Drug Analysis – in ASTM revision
  E2882: Analysis of Clandestine Laboratory Evidence – in ASTM revision

## Slide 18: OSAC-Developed Documents
Seized Drugs Subcommittee
DRAFT:
Standard Practice for:
Assessment of GC-EI-MS Data for the Qualitative Analysis of Seized Drugs
Public comments:
  OSAC Seized Drugs webpage
  SWGDRUG link

## Slide 19: CTS Survey – 17-501 Drug Analysis
762 participants
468 (61%) filled-out “some portion” of survey
449 responses:
  384 (85%) follow SWGDRUG Recommendations
  34 (8%) follow some but not all SWGDRUG
  31 (7%) do not follow SWGDRUG

## Slide 20: www.SWGDRUG.org
Visitors

## Slide 21: SWGDRUG Core Committee
DEA – Scott R. Oulton (Chair)
SAFS – Christian Matchett (Vice Chair)
DEA & AAFS – Dr. Sandra Rodriguez-Cruz1
MAFS – Karen Bowen
MAAFS – Juli Cruciotti
NEAFS – Tiffany Ribadeneyra
NWAFS & CAC – Dr. Sandra Sachs
SWAFS – Roger Schneider
Educators – Dr. Eric Person and Dr. Ruth Smith
1non-voting

## Slide 22: SWGDRUG Core Committee
ASCLD – Linda Jackson
ASTM – Agnes Winokur
FBI – vacant
NIST – Dr. William Wallace
AFSN/IDWG – Dr. Angeline Yap Tiong Whei
AICEF – Dr. Adriano Maldaner
Australia – Catherine Quinn
Canada – Richard Laing
ENFSI – Dr. Michael Bovens
UNODC – Dr. Conor Crean

## Slide 23: Thank You!
www.swgdrug.org
swgdrug@hotmail.com